## static_cable
id | n | v_rate | a_air | a_bury | a_jtube | r_dc | r_ac | xl | c | colour | dry_mass | wet_mass | diameter | mbr | mbl | fibre | cost | max_operating_temp | environmental_impact | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
1 | 3 | 6600 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 600 | 90 | to_be_checked | 0.02394 | 17.1 | 108.3 | 0.02394 | 17.1 | 108.3
2 | 3 | 11000 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 700 | 90 | to_be_checked | 0.02394 | 17.1 | 108.3 | 0.02394 | 17.1 | 108.3
17 | 3 | 33000 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 800 | 90 | to_be_checked | 0.02394 | 17.1 | 108.3 | 0.02394 | 17.1 | 108.3
28 | 3 | 11000 | 90 | 90 | 90 | 0.25 | 0.34 | 0.24 | 0.17 | [7 empty] | 800
31 | 3 | 690 | 50 | 50 | 50 | 0.25 | 0.34 | 0.24 | 0.17 | [7 empty] | 800

## dynamic_cable
id | n | v_rate | a_air | a_bury | a_jtube | r_dc | r_ac | xl | c | colour | dry_mass | wet_mass | diameter | mbr | mbl | fibre | cost | max_operating_temp | environmental_impact | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
3 | 3 | 6600 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 600 | 90 | to_be_checked | 4.218 | 4.218 | 4.218 | 4.218 | 4.218 | 4.218
4 | 3 | 11000 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 800 | 90 | to_be_checked | 4.218 | 4.218 | 4.218 | 4.218 | 4.218 | 4.218
27 | 3 | 33000 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 1000 | 90 | to_be_checked | 4.218 | 4.218 | 4.218 | 4.218 | 4.218 | 4.218
33 | 3 | 690 | 180 | 180 | 180 | 0.524 | 0.67 | 0.46 | 0.17 | black | 8700 | 8700 | 79 | 1.15 | 150000 | 50 | 1000 | 90 | to_be_checked | 4.218 | 4.218 | 4.218 | 4.218 | 4.218 | 4.218

## wet_mate
id | n | v_rate | a_rate | mass | height | width | depth | mating | demating | colour | outer_coating | fibre | cost | max_water_depth | min_temperature | max_temperature | min_cable_csa | max_cable_csa | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
5 | 3 | 6600 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | yellow | metal | 49 | 150000 | 100 | -5 | 40 | 50 | 250 | 4.65 | 5.4224 | 10.2 | 4.65 | 5.4224 | 10.2
6 | 3 | 11000 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | yellow | metal | 50 | 200000 | 100 | -5 | 40 | 50 | 250 | 4.65 | 5.4224 | 10.2 | 4.65 | 5.4224 | 10.2
26 | 3 | 33000 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | yellow | metal | 50 | 200000 | 100 | -5 | 40 | 50 | 250 | 4.65 | 5.4224 | 10.2 | 4.65 | 5.4224 | 10.2
30 | 3 | 690 | [10 empty] | 200000

## dry_mate
id | n | v_rate | a_rate | mass | height | width | depth | mating | demating | colour | outer_coating | fibre | cost | max_water_depth | min_temperature | max_temperature | min_cable_csa | max_cable_csa | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
7 | 3 | 6600 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | yellow | metal | 49 | 100000 | 100 | -5 | 40 | 50 | 250 | 4.65 | 5.4224 | 10.2 | 4.65 | 5.4224 | 10.2
8 | 3 | 11000 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | yellow | metal | 50 | 150000 | 100 | -5 | 40 | 50 | 250 | 4.65 | 5.4224 | 10.2 | 4.65 | 5.4224 | 10.2
18 | 3 | 33000 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | yellow | metal | 50 | 150000 | 100 | -5 | 40 | 50 | 250 | 4.65 | 5.4224 | 10.2 | 4.65 | 5.4224 | 10.2

## transformer
id | windings | rating | v1 | v2 | v3 | mass | height | width | depth | colour | outer_coating | cost | cooling | max_water_depth | min_temperature | max_temperature | impedance | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
9 | 2 | 1000000 | 6600 | 11000 |  | 1000 | 10 | 10 | 10 | black | paint | 50000 | air | 100 | -5 | 40 | 6 | 0.684 | 2.457 | 3.99 | 0.684 | 2.457 | 3.99
10 | 2 | 1000000 | 11000 | 33000 |  | 1000 | 10 | 10 | 10 | black | paint | 50000 | air | 100 | -5 | 40 | 6 | 0.684 | 2.457 | 3.99 | 0.684 | 2.457 | 3.99
19 | 2 | 1000000 | 6600 | 33000 |  | 1000 | 10 | 10 | 10 | black | paint | 50000 | air | 100 | -5 | 40 | 6 | 0.684 | 2.457 | 3.99 | 0.684 | 2.457 | 3.99
34 | 2 | 1000000 | 690 | 690 |  | 1000 | 10 | 10 | 10 |  |  | 50000 |  |  |  |  | 6
35 | 2 | 1000000 | 690 | 11000 |  | 1000 | 10 | 10 | 10 |  |  | 50000 |  |  |  |  | 6
36 | 2 | 1000000 | 690 | 33000 |  | 1000 | 10 | 10 | 10 |  |  | 50000 |  |  |  |  | 6

## collection_point
id | input | output | input_connector | output_connector | v1 | v2 | a_rate | dry_mass | wet_mass | height | width | depth | colour | outer_coating | foundation | busbar | cost | cooling | max_water_depth | fibre | gravity_centre | operating_environment | min_temperature | max_temperature | wet_frontal_area | dry_frontal_area | wet_beam_area | dry_beam_area | orientation_angle | foundation_loc | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
11 | 4 | 1 | wet-mate | dry-mate | 6600 | 11000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 150000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
12 | 4 | 1 | wet-mate | dry-mate | 11000 | 33000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 150000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
22 | 4 | 1 | wet-mate | dry-mate | 6600 | 33000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 150000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
23 | 4 | 1 | wet-mate | dry-mate | 6600 | 6600 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 100000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
24 | 4 | 1 | wet-mate | dry-mate | 11000 | 11000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 100000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
25 | 4 | 1 | wet-mate | dry-mate | 33000 | 33000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 100000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
28 | 4 | 1 | dry-mate | dry-mate | 690 | 690 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 100000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
29 | 4 | 1 | dry-mate | dry-mate | 690 | 11000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 100000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0
32 | 4 | 1 | dry-mate | dry-mate | 690 | 33000 | 100 | 100 | 100 | 10 | 10 | 10 | yellow | metal | gravity | single | 100000 | None | 100 | 40 | 0,0,0 | subsea | -5 | 40 | 0 | 0 | 0 | 0 | 0 | 0,0,0

## switchgear
id | v_rate | a_rate | mass | height | width | depth | max_water_depth | operating_environment | outer_coating | colour | min_temperature | max_temperature | cost | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
13 | 6600 | 100 | [8 empty] | -5 | 40 | 180000 | 0.093822 | 1.9313 | 2.85 | 0.093822 | 1.9313 | 2.85
14 | 11000 | 100 | [8 empty] | -5 | 40 | 300000 | 0.093822 | 1.9313 | 2.85 | 0.093822 | 1.9313 | 2.85
20 | 33000 | 100 | [8 empty] | -5 | 40 | 400000 | 0.093822 | 1.9313 | 2.85 | 0.093822 | 1.9313 | 2.85

## power_quality
id | v_rate | reactive_power | n_control | var_per_step | mass | operating_environment | height | width | depth | cooling | outer_coating | colour | min_temperature | max_temperature | max_water_depth | cost | critical_failure_min | critical_failure_mean | critical_failure_max | non_critical_failure_min | non_critical_failure_mean | non_critical_failure_max
15 | 6600 | [11 empty] | -5 | 40 |  | 180000 | 0.093822 | 1.9313 | 2.85 | 0.093822 | 1.9313 | 2.85
16 | 11000 | [11 empty] | -5 | 40 |  | 300000 | 0.093822 | 1.9313 | 2.85 | 0.093822 | 1.9313 | 2.85
21 | 33000 | [11 empty] | -5 | 40 |  | 400000 | 0.093822 | 1.9313 | 2.85 | 0.093822 | 1.9313 | 2.85